To:  			Grant @ Claviantica. Com

From : 			Malanga Building Contractors

P.O.BOX 101

MFUWE, ZAMBIA

Date: 			18th April 2006

QUOTATION FOR REHABILITATION OF KAKUMBI RURAL HEALTH CENTRE AT MFUWE

This follows the verbal arrangement made between me and you, regarding the above mentioned subject. The following  is a list of building materials required plus prices and labour cost for your attention.

| # | Item | Qty / size | Unit Cost (ZMK) | Total (ZMK) |
| --- | --- | --- | --- | --- |
| 1. | Cement | 150pkts x 50kg | 50,000 | 7,500,000 |
| 2. | Iron Sheets | 68 x 3m | 60,000 | 4,080,000 |
| 3. | Iron Sheets | 16 x 2.5m | 55,000 | 880,000 |
| 4 | Iron sheets | 9 x 2.5m | 48,000 | 432,000 |
| 5 | Ceiling board | 46 | 20,000 | 920,000 |
| 6 | Beams | 72 x 150mm x 50mm | 21,000 | 1,512,000 |
| 7 | Purloins | 84 x 75mm x 50mm | 19,000 | 1,596,000 |
| 8 | Conduits pipe | 23 x 4m x ¾” | 3,500 | 80,500 |
| 9 | Conduits pipe | 26 x 4m x ½ | 3,500 | 91,000 |
| 10 | Roll cable | 1 x 2mm (red) | 75,000 | 75,000 |
| 11 | Roll cable | 1x 2mm (green) | 75,000 | 75,000 |
| 12 | Roll cable | 1x 2mm (black) | 75,000 | 75,000 |
| 13 | Roll cable | 1 x 1.5mm (black red) | 65,000 | 65,000 |
| 14 | Bulb holder | 21 | 3,500 | 73,500 |
| 15 | Light switchers (1 gang) | 20 | 4,500 | 90,000 |
| 16 | Sockets | 21 | 6500 | 136,500 |
| 17 | Toilet pans | 2 | 145,000 | 290,000 |
| 18 | Toilet water system | 2 | 110,000 | 220,000 |
| 19 | Hand Basin | 2 | 85,000 | 170,000 |
| 20 | Hand basin tap | 4 | 35,000 | 140,000 |
| 21 | Shower roses | 4 | 15,000 | 60,000 |
| 22 | Geyser | 1 | 1,500,000 | 1,500,000 |
| 23 | Pan connector | 2 x 100mm | 35,000 | 70,000 |
| 24 | Asbestos Insp. | 2 x 100mm | 35,000 | 70,000 |
| 25 | Bend pipe connectors | 2 x 100mm | 55,000 | 110,000 |
| 26 | Pan connector with | 2 x 100mm | 60,000 | 120,000 |
| 27 | PVC pipes | 8 x100 mm x 4m | 130,000 | 1,040,000 |
| 28 | Air vents | 15 pairs | 10,000 | 150,000 |
| 29 | Wire nails | 15kg x 5” | 9,000 | 135,000 |
| 30 | Wire nails | 18kg x 4” | 9,000 | 162,000 |
| 31 | Roofing nails | 10kg | 12000 | 120000 |
| 32 | Ceiling nails | 10kg x1½ | 9,000 | 90,000 |
| 33 | Door(panel) | 6 | 400,000 | 2,400,000 |
| 34 | Fascia board | 10 | 30,000 | 300,000 |
| 35 | Glass pans | 10 | 11,500 | 150,000 |
| 36 | Putty | 10kg | 6,000 | 60,000 |
| 37 | Paint (PVA) – (White ) | 20ltrs (5ltrs tins) | 25,000 | 100,000 |
| 38 | Paint (PVA) – Sky blue cream | 20ltrs (5ltrs tins) | 25,000 | 100,000 |
| 39 | Paint (PVA) –(Cream) | 20ltrs (5ltrs tins) | 25000 | 100,000 |
| 40 | Paint (gloss) white | 10ltrs (5ltrs tins) | 85,000 | 170,000 |
| 41 | Paint (gloss) cream | 15ltrs (5ltrs tins) | 85,000 | 245,000 |
| 42 | Paint (gloss) black | 20ltrs (5ltrs tins) | 85,000 | 350,000 |
| 43 | Wood preservative | 20ltrs (5ltrs tins) | 35,000 | 140,000 |
| 44 | Reinforcement steel bars | 5 x 12m x 16mm | 75,000 | 375,000 |
| 45 | Tying wire | 20kg | 11,000 | 220,000 |
| 46 | Thinners | 15ltrs (3 x 5 ltrs ) | 65,000 | 195,000 |
| 47 | Filler | 5 x 5 kg pkt | 12,000 | 60,000 |
| 48 | Sand paper | 30 sheets | 6,000 | 180,000 |
| 49 | Crushed stones | 14 tons x2 | 240,000 | 480,000 |
| 50 | Transport | 2 trips | 180,000 | 360,000 |
| 51 | Transportation of river sand | 14 tons x2 | 180000 | 360,000 |
| 52 | Mortice Locks | 6 | 65,000 | 380,000 |
| 53 | Transportation of building sand | 20 tons x 2 | 180,000 | 360,000 |
| 54 | Bricks(pan) | 10,000 | 200 | 2,000,000 |
| 55 | Ceiling blundering | 10 bundles x 4m | 190,000 | 1,900,000 |
| 56 | Transportation of materials from Chipata | 2 trips | 300,000 | 600,000 |
| 57 | Loaders of bricks ,crushed stones, river sand & building sand |  |  | 450,000 |
| Total cost for materials & transport |  |  |  | 34, 163,500 |

2 Labor cost

Description								ZMK

- Roof and roofing covering					3,500,000

- Hanging & painting ceiling board				3,000,000

- Electrical installation						1,100,000

- Fitting of toilets pans, hand basins				1,500,000

- Construction of toilets						3,200,000

- Fitting of air vents, doors, septic, tank & soak away		2,000,000

- Beam filling & painting of all walls and plastering 		2,300,000

Total Labour cost						          16,600,000

- Total for materials and transport			34,163,500

- Total for labour cost 					16,600,000

50,763,500

Add 10% of the cost of building materials in case of inflation on the cost of materials at the time of construction				ZMK 3,416,350

GRAND TOTAL					ZMK 54, 179, 850

Note : ZMK= Zambian Kwacha

Sender: Festus Tambulukani